## Compliled data
Solar Potential Analysis by Satelite Software
|  |  | Monthly mean | Monthly mean | Annual | Annual | annual/monthly | 56.5246
Location | Building(s) | DC Rating | DC Array Output | DC Array Output | DC Array Output | DC Array Output | ratio | sq meters
|  | KW | kWh | MWh | kWh | MWh |  | per kW
Childcare Center | Total | 78.5 | 6085.6221 | 6.0856 | 73027.4648 | 73.0275 | 12
Geoduck Ville | Total | 36.2 | 2806.3632 | 2.8064 | 33676.359 | 33.6764 | 12
Sem 1 | Total | 96.2 | 7457.7931 | 7.4578 | 89493.5166 | 89.4935 | 12
Sem 2 | Total | 277.8 | 21834.0583 | 21.8341 | 262008.7001 | 262.0087 | 12
CRC Gym | Total | 259 | 26006 | 26.006 | 312068 | 312.068 | 11.9998
CRC Pool | Total | 238 | 20676 | 20.676 | 248100 | 248.1 | 11.9994
Rec Pavilion | Total | 183 | 15872 | 15.872 | 190461 | 190.461 | 11.9998
CRC/ CAB Connecting Path | Total | 54 | 4717 | 4.717 | 56607 | 56.607 | 12.0006
Lab 1 | Total | 126 | 10920 | 10.92 | 131040 | 131.04 | 12
Lab 1 & 2 Connection | Total | 23 | 11033 | 11.033 | 132395 | 132.395 | 11.9999
Lab 2 | Total | 180 | 15646 | 15.646 | 187750 | 187.75 | 11.9999
Maintenance Complex | Total | 177.5 | 13964.3493 | 13.9643 | 167572.1915 | 167.5722 | 12
Central Utility | Total | 42 | 3666 | 3.666 | 43993 | 43.993 | 12.0003
Communications Lab | Total | 252 | 19786.1064 | 19.7861 | 237433.2765 | 237.4333 | 12
Housing | Total | 471.5 | 37416.4557 | 37.4165 | 448998.468 | 448.9985 | 12
Library | Total | 659.4 | 51876.5772 | 51.8766 | 622518.9268 | 622.5189 | 12
Long House | Total | 126.5 | 9952.0575 | 9.9521 | 119424.6898 | 119.4247 | 12
Lecture Halls | Total | 143.4 | 11281.6212 | 11.2816 | 135379.4548 | 135.3795 | 12
Art Annex | Total | 67.5 | 5310.3865 | 5.3104 | 63724.6384 | 63.7246 | 12
Organic Farm | Total | 68 | 9150 | 9.15 | 114151 | 114.151 | 12.4755
Campus (all above locations) | Total | 3559.5 | 305457.3905 |  | 3669822.6862 | 3669.8227
hours per year | 8766 |  |  |  | Annual kW | Annual MW
[5 empty] | 418.6428 | 0.41864 | Zita's conversions - Sept 2014
This is the same data as above, with STUDENTS' unit conversions. This is the data and units used in the pie graphs.
|  |  | Monthly |  | Annual
Location | Building(s) | DC Rating (kW): | DC Array Output (MWh); Monthly Mean |  | DC Array Output (GWh); Annual (Sum of months)
|  | kWh | MWh |  | GWh
Campus (all above locations) | Total | 3560 | 305.4574 |  | 3.6698
This table contains some totaled and some untotalled building complexes. Data is completely compiled above.
|  |  | Monthly mean |  | Annual (sum of months)
Location | Building(s) | DC Rating (kW): | DC Array Output (kWh) |  | DC Array Output (kWh)
Childcare Center | Total | 78.5 | 6085.6221 |  | 73027.4648 |  | 12 | 4437.1803
Geoduck Ville | Total | 36.2 | 2806.3632 |  | 33676.359 |  | 12 | 2046.1902
Sem1 | Sem1 | 96.2 | 7457.7931 |  | 89493.5166 |  | 12 | 5437.6656
Sem2 | A Total | 53.2 | 4185.3718 |  | 50224.4614 |  | 12 | 3007.1082
| B Total | 74 | 5821.7571 |  | 69861.0849 |  | 12 | 4182.8197
| C Total | 42.5 | 3343.5767 |  | 40122.9206 |  | 12 | 2402.2951
| D Total | 41.2 | 3241.303 |  | 38895.6362 |  | 12 | 2328.8131
| E Total | 66.9 | 5242.0497 |  | 62904.597 |  | 12 | 3781.4951
Sem 2 Total | Total | 277.8 | 21834.0583 |  | 262008.7001 |  | 12 | 15702.5311
CRC Gym | Total | 259 | 26006 |  | 312068 |  | 11.9998 | 14639.8689 | 0.27753
CRC Pool | Total | 238 | 20676 |  | 248100 |  | 11.9994 | 13452.8525 |  | sq m | sq m
Rec Pavilion | Total | 183 | 15872 |  | 190461 |  | 11.9998 | 10344 | Rec Pavillion / | 2870.7188 | approx CAB = 2639 m2 - really?
CRC/ CAB Connecting Path | Total | 54 | 4717 |  | 56607 |  | 12.0006 | 3052.3279 | LIB | 10344 | from RooftopAnalysis.pptx
Lab 1 | Total | 126 | 10920 |  | 131046.9451 |  | 12.0006 | 7122.0984
Lab 1 & 2 Connection | Total | 23 | 11033 |  | 132395 |  | 11.9999 | 1300.0656
Lab 2 | Total | 180 | 15646 |  | 187750 |  | 11.9999 | 10174.4262
Maintenance Complex | Total | 177.5 | 13964.3493 |  | 167572.1915 |  | 12 | 10033.1148
Central Utility | Total | 42 | 3666 |  | 43993 |  | 12.0003 | 2374.0328
Communications Lab | Total | 251.5 | 19786.1064 |  | 237433.2765 |  | 12 | 14215.9344
Housing | A Dorm | 23.3 | 1833.0669 |  | 21996.8026 |  | 12 | 1317.023
| Apt. E | 44 | 3461.5852 |  | 41539.0228 |  | 12 | 2487.082
| Mods | 136 | 11823 |  | 141881 |  | 12.0004 | 7687.3443
Housing | Total | 203.3 | 17117.6521 |  | 205416.8254 |  | 12.0003 | 11491.4492
Library | Total | 659.4 | 51876.5772 |  | 622518.9268 |  | 12 | 37272.3148
Long House | Total | 126.5 | 9952.0575 |  | 119424.6898 |  | 12 | 7150.3607
Lecture Halls | Total | 143.4 | 11281.6212 |  | 135379.4548 |  | 12 | 8105.6262
Art Annex | Total | 67.5 | 5310.3865 |  | 63724.6384 |  | 12 | 3815.4098
Organic Farm | Total | 68 | 9150 |  | 114151 |  | 12.4755 | 3843.6721
213205.1016
sq meters